## DETAIL
ITEM # | REF. SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
Estimate of Materials and Cost of Construction
|  | Date: | 2026-07-28 | [7 empty] | Summary | Amount
|  | Project: | Outpatient Gahanna Neurology Renovation | [7 empty] | Subtotal | 0
|  | Project Location: | Columbus, OHIO | [7 empty] | Profit/Overhead | 0
[11 empty] | Total | 0
ITEM # | REF. SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
|  | DIV-01 | GENERAL | [9 empty] | 0
1 |  |  | Permit | 1 | 0% | 1 | LS | - |  |  |  | -
2 |  |  | Supervision | 1 | 0% | 1 | LS | - |  |  |  | -
3 |  |  | Final Cleanup | 1 | 0% | 1 | LS | - |  |  |  | -
4 |  |  | Mobilization Cost | 1 | 0% | 1 | LS | - |  |  |  | -
5 |  |  | Project Overheads | 1 | 0% | 1 | LS | - |  |  |  | -
6 |  |  | Bonds | 1 | 0% | 1 | LS | - |  |  |  | -
7 |  |  | Fees (Architect & Engineer) | 1 | 0% | 1 | LS | - |  |  |  | -
8 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | - |  |  |  | -
|  | DIV-02 | SELECTIVE REMOVALS AND DEMOLITION | [9 empty] | 0
9 | E101 |  | Remove Lighting Fixtures | 46 | 0% | 46 | EA |  | 0 |  | 0 | 0
10 | E101,E102 |  | Remove Power Items | 84 | 0% | 84 | EA |  | 0 |  | 0 | 0
11 | E101,E102 |  | Remove and Relocate 3 Way Switch | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
12 | E101,E102 |  | Remove and Relocate Fire Alarm Horn Strobe | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
|  | DIV-26 | ELECTRICAL | [9 empty] | 0
LIGHTING FIXTURES
13 | E-101 |  | 2'x4' Led Troffer w/Center Acrylic Diffuser-R2 Manufacturer: Lithonia Catalog number: 24-OVHP-LED-4000L-DIM10-Mvolt-35K-90 | 10 | 0% | 10 | EA |  | 0 |  | 0 | 0
14 | E-101 |  | 2'x2' Led Troffer w/Center Acrylic Diffuser-R3 Manufacturer: Lithonia Catalog number: 22-OVHP-LED-3400L-DIM10-Mvolt-35K-90 | 9 | 0% | 9 | EA |  | 0 |  | 0 | 0
15 | E-101 |  | 2'x2' Emergency Led Night Light Troffer w/Center Acrylic Diffuser-R3E NL Manufacturer: Lithonia Catalog number: 22-OVHP-LED-3400L-DIM10-Mvolt-35K-90 | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
16 | E-101 |  | 2'x2' Emergency Led Troffer w/Center Acrylic Diffuser-R3E w/Emergency Battery Manufacturer: Lithonia Catalog number: Elite 0-EMG-LED-20 | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
17 | E-101 |  | 2'x4' Led Troffer w/Center Acrylic Diffuser-R1 Manufacturer: Lithonia Catalog number: 24-OVHP-LED-6000L-DIM10-Mvolt-35K-90 | 14 | 0% | 14 | EA |  | 0 |  | 0 | 0
18 | E-101 |  | 4" Led Downlight w/integral Led Heat Management Casting and Driver-R4 Manufacturer: Lithonia Catalog number: HV4-LED-1100L-DIMTR-120-MD-35K-90-LED-4101-CL-WH | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
19 | E-101 |  | Single Face White Thermoplastic Exit Sign with Led Lamps-with 90 Min Battery Backup-X1 Manufacturer: Lithonia Model: LQM-S-W-3-E-120/277-ELN-SD | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
20 | E-101 |  | Double Face White Thermoplastic Exit Sign with Led Lamps-with 90 Min Battery Backup-X2 Manufacturer: Lithonia Model: LQM-S-W-3-E-120/277-ELN-SD | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
21 | E-101 |  | Wall Mounted Dual Technology Passive Infrated/Ultrasonic Vacancy Sensor Switch with one Manual on/Auto Off Button- VS | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
22 | E-101 |  | Low Voltage On/Off Dimming Switch-LVD | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
23 | E-101 |  | Dual Technology Passive Infrated/Ultrasonic-DVS | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
24 | E-101 |  | Led Dimmer Sensor Switch-D | 7 | 0% | 7 | EA |  | 0 |  | 0 | 0
25 | E-101 |  | Low Voltage on/Off Sensor Switch-LV | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
26 | E-101 |  | Dual Technology Passive Infrated/Ultrasonic Occupancy Sensor w/Auto on/Auto off Control-OS | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
POWER ITEMS
27 | E-201 |  | Relocate 3 Way Switch | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
28 | E-201 |  | Relocate Fire Alarm Horn Strobe | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
29 | E-201 |  | Double Duplex Receptacle-Two Gang Assembly | 20 | 0% | 20 | EA |  | 0 |  | 0 | 0
30 | E-201 |  | 3 Way Switch | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
31 | E-201 |  | 4 Way Switch | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
32 | E-201 |  | Duplex Receptacle | 35 | 0% | 35 | EA |  | 0 |  | 0 | 0
33 | E-201 |  | Ground Fault Circuit Interrupter Duplex Receptacle | 15 | 0% | 15 | EA |  | 0 |  | 0 | 0
34 | E-201 |  | Fire Alarm ADA Strobe Light | 8 | 0% | 8 | EA |  | 0 |  | 0 | 0
35 | E-201 |  | Relocate Fire Alarm Horn Strobe | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
36 | E-201 |  | Fire Alarm Horn Strobe | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
37 | E-201 |  | Card Reader | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
38 | E-201 |  | Phone/Data Outlet | 29 | 0% | 29 | EA |  | 0 |  | 0 | 0
39 | E-201 |  | 12" x 4" Cable Tray | 27.27 | 0% | 28 | LF |  | 0 |  | 0 | 0
CONDUIT & Wiring
40 | E-101,E-201 |  | Wiring For Power Items | 5712 | 5% | 5998 | LF |  | 0 |  | 0 | 0
41 | E-101,E-201 |  | Wiring For Lighting Fixtures | 2880 | 5% | 3024 | LF |  | 0 |  | 0 | 0
42 | E-101,E-201 |  | Conduit For Power Items | 3304 | 5% | 3470 | LF |  | 0 |  | 0 | 0
43 | E-101,E-201 |  | Conduit For Lighting Fixture | 1934 | 5% | 2031 | LF |  | 0 |  | 0 | 0
SUB TOTAL | [6 empty] | Total Lab. Cost = |  | 0 | Total Mat. Cost = | 0 | 0 | 0
INSURANCE | [7 empty] | 0% |  |  |  | 0 | 0
OVERHEAD AND PROFIT | [7 empty] | 25% |  |  |  | 0 | 0
TOTAL BASE BID | [11 empty] | 0 | 0