## DETAIL
ITEM # | REF. SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
Estimate of Materials and Cost of Construction
|  | Date: | 2026-07-28 | [7 empty] | Summary | Amount
|  | Project: | [8 empty] | Subtotal | 0
|  | Project Location: | [8 empty] | Profit/Overhead | 0
[11 empty] | Total | 0
ITEM # | REF. SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
|  | DIV-01 | GENERAL | [9 empty] | 0
1 |  |  | Permit | 1 | 0% | 1 | LS | - |  |  |  | -
2 |  |  | Supervision | 1 | 0% | 1 | LS | - |  |  |  | -
3 |  |  | Final Cleanup | 1 | 0% | 1 | LS | - |  |  |  | -
4 |  |  | Mobilization Cost | 1 | 0% | 1 | LS | - |  |  |  | -
5 |  |  | Project Overheads | 1 | 0% | 1 | LS | - |  |  |  | -
6 |  |  | Bonds | 1 | 0% | 1 | LS | - |  |  |  | -
7 |  |  | Fees (Architect & Engineer) | 1 | 0% | 1 | LS | - |  |  |  | -
8 |  |  | Temporary Control & Facilities | 1 | 0% | 1 | LS | - |  |  |  | -
|  | DIV-22 | PLUMBING | [9 empty] | 0
Domestic Pipe
9 | P1 to P22 |  | 3/4" Cold Water Pipe | 756.17 | 5% | 794 | LF |  | 0 |  | 0 | 0
10 | P1 to P22 |  | 2" Cold Water Pipe | 129.62 | 5% | 137 | LF |  | 0 |  | 0 | 0
11 | P1 to P22 |  | 1-1/2" Cold Water Pipe | 4.68 | 5% | 5 | LF |  | 0 |  | 0 | 0
12 | P1 to P22 |  | 2-1/2" Cold Water Pipe | 278.76 | 5% | 293 | LF |  | 0 |  | 0 | 0
13 | P1 to P22 |  | 1" Cold Water Pipe | 86.06 | 5% | 91 | LF |  | 0 |  | 0 | 0
14 | P1 to P22 |  | 1/2" Cold Water Pipe | 19.45 | 5% | 21 | LF |  | 0 |  | 0 | 0
15 | P1 to P22 |  | 3/4" Hot Water | 182.47 | 5% | 192 | LF |  | 0 |  | 0 | 0
16 | P1 to P22 |  | 1" Hot Water Pipe | 28.33 | 5% | 30 | LF |  | 0 |  | 0 | 0
17 | P1 to P22 |  | 1/2" Hot Water Pipe | 531.15 | 5% | 558 | LF |  | 0 |  | 0 | 0
18 | P1 to P22 |  | 1/2" Hot Water Return | 487.37 | 5% | 512 | LF |  | 0 |  | 0 | 0
19 | P1 to P22 |  | 3/4" Hot Water Return Pipe | 88.07 | 5% | 93 | LF |  | 0 |  | 0 | 0
20 | P1 to P22 |  | 1-1/2" Hot Water Return Pipe | 38.39 | 5% | 41 | LF |  | 0 |  | 0 | 0
Domestic Pipe Fitting
21 | P1 to P22 |  | 3/4" (90 Degree) Bend | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
22 | P1 to P22 |  | 2-1/2" (90 Degree) Bend | 5 | 0% | 5 | EA |  | 0 |  | 0 | 0
23 | P1 to P22 |  | 1" (90 Degree) Bend | 7 | 0% | 7 | EA |  | 0 |  | 0 | 0
24 | P1 to P22 |  | 1" Tee | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
25 | P1 to P22 |  | 1/2" (90 Degree) Bend | 29 | 0% | 29 | EA |  | 0 |  | 0 | 0
26 | P1 to P22 |  | 1/2" Tee | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
27 | P1 to P22 |  | 3/4" (90 Degree) Bend | 40 | 0% | 40 | EA |  | 0 |  | 0 | 0
28 | P1 to P22 |  | 3/4" Tee | 13 | 0% | 13 | EA |  | 0 |  | 0 | 0
29 | P1 to P22 |  | 2" (90 Degree) Bend | 16 | 0% | 16 | EA |  | 0 |  | 0 | 0
30 | P1 to P22 |  | 2" Tee | 7 | 0% | 7 | EA |  | 0 |  | 0 | 0
31 | P1 to P22 |  | 1-1/2" (90 Degree) Bend | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
Waste Pipe
32 | P1 to P22 |  | 4" Waste Pipe | 801.58 | 5% | 842 | LF |  | 0 |  | 0 | 0
33 | P1 to P22 |  | 2" Waste Pipe | 137.41 | 5% | 145 | LF |  | 0 |  | 0 | 0
34 | P1 to P22 |  | 2" Vent Pipe | 328.11 | 5% | 345 | LF |  | 0 |  | 0 | 0
35 | P1 to P22 |  | 1-1/2" Vent Pipe | 90.65 | 5% | 96 | LF |  | 0 |  | 0 | 0
36 | P1 to P22 |  | 3" Vent Pipe | 71.36 | 5% | 75 | LF |  | 0 |  | 0 | 0
37 | P1 to P22 |  | 2" Underground Vent Pipe | 134.36 | 5% | 142 | LF |  | 0 |  | 0 | 0
38 | P1 to P22 |  | 4" Vent Through Roof | 20.03 | 5% | 22 | LF |  | 0 |  | 0 | 0
Waste Pipe Fitting
39 | P1 to P22 |  | 4" (90 Degree) Bend | 34 | 0% | 34 | EA |  | 0 |  | 0 | 0
40 | P1 to P22 |  | 4" Y- Tee | 18 | 0% | 18 | EA |  | 0 |  | 0 | 0
41 | P1 to P22 |  | 4" (45 Degree) Bend | 18 | 0% | 18 | EA |  | 0 |  | 0 | 0
42 | P1 to P22 |  | 4" Tee | 14 | 0% | 14 | EA |  | 0 |  | 0 | 0
43 | P1 to P22 |  | 2" (90 Degree) Bend | 45 | 0% | 45 | EA |  | 0 |  | 0 | 0
44 | P1 to P22 |  | 2" (45 Degree) Bend | 11 | 0% | 11 | EA |  | 0 |  | 0 | 0
45 | P1 to P22 |  | 2" Tee | 9 | 0% | 9 | EA |  | 0 |  | 0 | 0
46 | P1 to P22 |  | 1-1/4" (90 Degree) Bend | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
47 | P1 to P22 |  | 2" Y-Tee | 13 | 0% | 13 | EA |  | 0 |  | 0 | 0
48 | P1 to P22 |  | 1-1/2" (90 Degree) Bend | 10 | 0% | 10 | EA |  | 0 |  | 0 | 0
49 | P1 to P22 |  | 1-1/2" Tee | 5 | 0% | 5 | EA |  | 0 |  | 0 | 0
50 | P1 to P22 |  | 1-1/2" (45 Degree) Bend | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
51 | P1 to P22 |  | 3" (90 Degree) Bend | 8 | 0% | 8 | EA |  | 0 |  | 0 | 0
52 | P1 to P22 |  | 3" Tee | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
Storm
53 | P1 to P22 |  | 10" Storm Pipe | 78.03 | 5% | 82 | LF |  | 0 |  | 0 | 0
54 | P1 to P22 |  | 8" Storm | 150.32 | 5% | 158 | LF |  | 0 |  | 0 | 0
55 | P1 to P22 |  | 10" overflow Drain Pipe | 25.95 | 5% | 28 | LF |  | 0 |  | 0 | 0
56 | P1 to P22 |  | 8" Overflow Drain | 182.39 | 5% | 192 | LF |  | 0 |  | 0 | 0
Storm Pipe Fitting
57 | P1 to P22 |  | 8" (45 Degree) Bend | 8 | 0% | 8 | EA |  | 0 |  | 0 | 0
58 | P1 to P22 |  | 8" (90 Degree) Bend | 7 | 0% | 7 | EA |  | 0 |  | 0 | 0
59 | P1 to P22 |  | 10" Y-Tee | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
60 | P1 to P22 |  | 8" Y-Tee | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
Compressed Air Pipe
61 | P1 to P22 |  | 4" Compressed Air Pipe | 783.45 | 5% | 823 | LF |  | 0 |  | 0 | 0
62 | P1 to P22 |  | 2" Compressed Air Pipe | 783.45 | 5% | 823 | LF |  | 0 |  | 0 | 0
Compressed Valve
63 | P1 to P22 |  | 4" Shut of Valve | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
64 | P1 to P22 |  | 4" Ball Valve | 76 | 0% | 76 | EA |  | 0 |  | 0 | 0
Compressed Air Pipe Fitting
65 | P1 to P22 |  | 4" (90 Degree) Bend | 5 | 0% | 5 | EA |  | 0 |  | 0 | 0
66 | P1 to P22 |  | 4" Two Way Tee | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
67 | P1 to P22 |  | 3" Y-Tee | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
68 | P1 to P22 |  | 10" (90 Degree) Bend | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
69 | P1 to P22 |  | 4" (90 Degree) Bend | 11 | 0% | 11 | EA |  | 0 |  | 0 | 0
70 | P1 to P22 |  | 4" Tee | 14 | 0% | 14 | EA |  | 0 |  | 0 | 0
Gas
71 | P1 to P22 |  | 2-1/2" Gas Pipe | 83.95 | 5% | 89 | LF |  | 0 |  | 0 | 0
72 | P1 to P22 |  | 3/4" Gas Pipe | 42.33 | 5% | 45 | LF |  | 0 |  | 0 | 0
73 | P1 to P22 |  | 3" Gas Pipe | 59.47 | 5% | 63 | LF |  | 0 |  | 0 | 0
74 | P1 to P22 |  | 2" Gas Pipe | 333.98 | 5% | 351 | LF |  | 0 |  | 0 | 0
75 | P1 to P22 |  | 1-1/2" Gas Pipe | 12.14 | 5% | 13 | LF |  | 0 |  | 0 | 0
76 | P1 to P22 |  | 1-1/4" Gas Pipe | 31.26 | 5% | 33 | LF |  | 0 |  | 0 | 0
Gas Valve
77 | P1 to P22 |  | 2-1/2" Ball Vlave | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
78 | P1 to P22 |  | 1-1/4" Regulator | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
79 | P1 to P22 |  | 2" Shut off Valve | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
80 | P1 to P22 |  | 2" Ball Valve | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
81 | P1 to P22 |  | 1-1/2" Gas Cock | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
Gas Pipe Fitting
82 | P1 to P22 |  | 2-1/2" (90 Degree) Bend | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
83 | P1 to P22 |  | 3/4" (90 Degree) Bend | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
84 | P1 to P22 |  | 3" (90 Degree) Bend | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
85 | P1 to P22 |  | 2" (90 Degree) Bend | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
86 | P1 to P22 |  | 1-1/2" Tee | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
Valve
87 | P1 to P22 |  | 1/2" Gate Valve | 7 | 0% | 7 | EA |  | 0 |  | 0 | 0
88 | P1 to P22 |  | 1/2" Check Valve | 7 | 0% | 7 | EA |  | 0 |  | 0 | 0
89 | P1 to P22 |  | 1/2" Ball Valve | 15 | 0% | 15 | EA |  | 0 |  | 0 | 0
90 | P1 to P22 |  | 2" Ball Valve | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
91 | P1 to P22 |  | 3/4" Ball Valve | 8 | 0% | 8 | EA |  | 0 |  | 0 | 0
92 | P1 to P22 |  | 1" Ball Valve | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
93 | P1 to P22 |  | 2-1/2" Ball Valve | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
94 | P1 to P22 |  | 3/4" Shut off Valve | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
95 | P1 to P22 |  | 1/2" Shut off Valve | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
96 | P1 to P22 |  | 1-1/4" Check Valve | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
97 | P1 to P22 |  | 1-1/4" Ball Valve | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
98 | P1 to P22 |  | Thermostatic Mixing Valve Assembly | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
99 | P1 to P22 |  | 3/4" Check Valve | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
100 | P1 to P22 |  | 1" Temperature Relief Vale | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
101 | P1 to P22 |  | 2-1/2" Reduced Pressure Zone | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
102 | P1 to P22 |  | 2-1/2" Pressure Guage | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
103 | P1 to P22 |  | 2-1,2" Silent Check Valve | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
104 | P1 to P22 |  | 2-1/2" Pressure Reducing Valve | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
Items
105 | P1 to P22 |  | 2-1/2" Strainer | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
106 | P1 to P22 |  | 2-1/2" Water Meter | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
107 | P1 to P22 |  | Aquastat | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
108 | P1 to P22 |  | Temperature Guage | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
Fixtures
109 | P1 to P22 |  | Water Closet-A1 | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
110 | P1 to P22 |  | Water Closet-A | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
111 | P1 to P22 |  | Lavatory-C Note: (By others) | 6 | 0% | 6 | EA |  | 0 |  | 0 | 0
112 | P1 to P22 |  | Cleanout | 24 | 0% | 24 | EA |  | 0 |  | 0 | 0
113 | P1 to P22 |  | Wall Cleanout | 5 | 0% | 5 | EA |  | 0 |  | 0 | 0
114 | P1 to P22 |  | Non Freeze Wall Hydrant | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
115 | P1 to P22 |  | Lavatory-C1 Note: (By others) | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
116 | P1 to P22 |  | Urinal-B1 | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
117 | P1 to P22 |  | Urinal-B | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
118 | P1 to P22 |  | 4" Floor Drain | 11 | 0% | 11 | EA |  | 0 |  | 0 | 0
119 | P1 to P22 |  | Shower Head with Valve Assembly-E | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
120 | P1 to P22 |  | Sower Head with Valve Assembly-E1 | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
121 | P1 to P22 |  | Water Heater-WH-1 (199.9 CFM) | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
122 | P1 to P22 |  | Air Compressor | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
123 | P1 to P22 |  | Air Receiver Tank-1060 Gallon | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
124 | P1 to P22 |  | Refrigerant Air Dryer | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
125 | P1 to P22 |  | Post Filter | 6 | 0% | 6 | EA |  | 0 |  | 0 | 0
126 | P1 to P22 |  | Oil WaterSeperator | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
127 | P1 to P22 |  | 13" Auto Drain | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
128 | P1 to P22 |  | Air Regulator | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
129 | P1 to P22 |  | Gas Fired Heater-MAU-1 | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
130 | P1 to P22 |  | Gas Fired Water Heater-DFH-1 | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
131 | P1 to P22 |  | Expansion Tank-EX-1 | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
132 | P1 to P22 |  | 4" VTR | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
133 | P1 to P22 |  | 8" Overflow Drain | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
134 | P1 to P22 |  | 10" Overflow Drain | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
135 | P1 to P22 |  | Recirculation Pump | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
136 | P1 to P22 |  | P-Trap | 11 | 0% | 11 | EA |  | 0 |  | 0 | 0
137 | P1 to P22 |  | Shock Arrestor | 20 | 0% | 20 | EA |  | 0 |  | 0 | 0
Insulation
138 | P1 to P22 |  | 1/2" Fiber glass insulation Note: Assumed | 2631 | 5% | 2763 | LF |  | 0 |  | 0 | 0
|  | DIV-31 | EARTHWORK | [9 empty] | 0
Excavation
139 | P1 to P22 |  | Excavation For Plumbing Pipe | 104.4444 | 5% | 110 | CY |  | 0 |  | 0 | 0
Backfill
140 | P1 to P22 |  | Backfill For Plumbing Pipe | 102.9265 | 5% | 109 | CY |  | 0 |  | 0 | 0
SUB TOTAL | [6 empty] | Total Lab. Cost = |  | 0 | Total Mat. Cost = | 0 | 0 | 0
INSURANCE | [7 empty] | 0% |  |  |  | 0 | 0
OVERHEAD AND PROFIT | [7 empty] | 25% |  |  |  | 0 | 0
TOTAL BASE BID | [11 empty] | 0 | 0