## DETAIL
ITEM # | REF. SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
Estimate of Materials and Cost of Construction
|  | Date: | 2026-07-30 | [7 empty] | Summary | Amount
|  | Project: | DOMINO'S PIZZA#8006 5240 N.AW GRIMES | [7 empty] | Subtotal | 0
|  | Project Location: | BLVD ROUND ROCK, TX 78665 | [7 empty] | Profit/Overhead | 0
[11 empty] | Total | 0
ITEM # | REF. SHEET | CSI SECT | DESCRIPTION | QTY. | WASTAGE | QTY WITH WASTAGE | UNIT | UNIT LABOR COST | TOTAL LABOR COST | UNIT MATERIAL COST | TOTAL MATERIAL COST | ITEM COST | TRADE COST
|  | DIV-01 | GENERAL | [9 empty] | 0
1 |  |  | Permit | 1 | 0% | 1 | LS | - |  |  |  | -
2 |  |  | Supervision | 1 | 0% | 1 | LS | - |  |  |  | -
3 |  |  | Final Cleanup | 1 | 0% | 1 | LS | - |  |  |  | -
|  | DIV-03 | CONCRETE | [9 empty] | 0
FOUNDATION WALL
4 | S-102 |  | 3'-0"wide x1'-0" deep concrete wall footing | 1 | 5% | 2 | CY |  | 0 |  | 0 | 0
5 | S-102 |  | 1'-4"wide x2'-0" deep concrete wall footing | 12 | 5% | 13 | CY |  | 0 |  | 0 | 0
6 | S-102 |  | 1'-0"wide x1'-2" deep concrete wall footing | 9 | 5% | 10 | CY |  | 0 |  | 0 | 0
FOUNDATION COLUMN
7 | S-102 |  | 3'-0" wide x3'-0" length x1'-2" deep concrete pad footing | 4.44 | 5% | 5 | CY |  | 0 |  | 0 | 0
8 | S-102 |  | 4'-0"" wide x 4'-0" length x 1'-2" deep concrete pad footing | 0.7 | 5% | 1 | CY |  | 0 |  | 0 | 0
CONCRETE SLAB
9 | S-102 |  | 4" Thick concrete slab on grade | 1940 | 5% | 2037 | SF |  | 0 |  | 0 | 0
10 | S-102 |  | 6" Thick concrete slab on grade | 121 | 5% | 128 | SF |  | 0 |  | 0 | 0
|  | DIV-04 | MASONRY | [9 empty] | 0
11 | S-102 |  | 8" Cmu wall | 1210 | 5% | 1271 | SF |  | 0 |  | 0 | 0
12 | A3-A3.1 |  | Engineering Stone Veneer | 350 | 5% | 368 | SF |  | 0 |  | 0 | 0
13 | A3-A3.1 |  | Thick Brick Masonry | 2265 | 5% | 2379 | SF |  | 0 |  | 0 | 0
14 | A3-A3.1 |  | Precast Wall Cap | 59 | 5% | 62 | LF |  | 0 |  | 0 | 0
|  | DIV-05 | METALS | [9 empty] | 0
HARDWARE
15 | S-102 |  | HSS 5x3x1/4 | 243.6 | 5% | 256 | LBS |  | 0 |  | 0 | 0
16 | S-102 |  | HSS 5x5x1/4 | 467.4 | 5% | 491 | LBS |  | 0 |  | 0 | 0
17 | S-102 |  | HDU8- SDS2.5 | 4 | 5% | 5 | EA |  | 0 |  | 0 | 0
|  | DIV-06 | WOOD, PLASTICS AND COMPOSITES | [9 empty] | 0
18 | S-102 |  | (3) 2x12 with 1/2 plywood spacer | 20 | 5% | 21 | LF |  | 0 |  | 0
19 | S-102 |  | (3) 2x8 with 1/2 plywood spacer | 11 | 5% | 12 | LF |  | 0 |  | 0 | 0
20 | S-102 |  | (3) 2x6 with 1/2 plywood spacer | 18 | 5% | 19 | LF |  | 0 |  | 0 | 0
Framing
21 | S-102 |  | 2X6 Lader framing | 88 | 5% | 93 | SF |  | 0 |  | 0 | 0
BEAMS
22 | S-102 |  | 5-1/8x30-1/4 GLb beam | 70 | 5% | 74 | LF |  | 0 |  | 0 | 0
Post
23 | S-102 |  | 2x6 wood post | 40 | 5% | 42 | LF |  | 0 |  | 0 | 0
Trusses
24 | S-102 |  | Sloped top chord wood trussess @ 24" o.c | 2082 | 5% | 2187 | SF |  | 0 |  | 0 | 0
Shething
25 | S-102 |  | 1/2" ply wood shething | 2082 | 5% | 2187 | SF |  | 0 |  | 0 | 0
|  | DIV-07 | THERMAL AND MOISTURE PROTECTION | [9 empty] | 0
Roof
26 | A2.1 |  | EPDM Roof | 2552 | 5% | 2680 | SF |  | 0 |  | 0 | 0
27 | A2.1 |  | Roof Membrane | 2552 | 5% | 2680 | SF |  | 0 |  | 0 | 0
28 | A2.1 |  | Ice & water shiled | 2552 | 5% | 2680 | SF |  | 0 |  | 0 | 0
29 | A2.1 |  | Flashing | 8 | 5% | 9 | LF |  | 0 |  | 0 | 0
30 | A2.1 |  | Roof Drains | 6 | 0% | 6 | EA |  | 0 |  | 0 | 0
Façade
31 | A3-A3.1 |  | Fiber Cement Horizontal Siding | 184 | 5% | 194 | SF |  | 0 |  | 0 | 0
32 | A3-A3.1 |  | Alum Composite Panel | 484 | 5% | 509 | SF |  | 0 |  | 0 | 0
33 | A3-A3.1 |  | Stucco | 194 | 5% | 204 | SF |  | 0 |  | 0 | 0
34 | A3-A3.1 |  | Metal Fascia | 182 | 5% | 192 | LF |  | 0 |  | 0 | 0
35 | A3-A3.1 |  | Fiber Cement Board Soffit | 238 | 5% | 250 | LF |  | 0 |  | 0 | 0
36 | A3-A3.1 |  | 3-1/2" Parapet Cap | 167 | 5% | 176 | LF |  | 0 |  | 0 | 0
Misc Items
37 | A2.5 |  | Door Trim | 238 | 5% | 250 | LF |  | 0 |  | 0 | 0
|  | DIV-08 | OPENINGS | [9 empty] | 0
DOORS
38 | A2.5 |  | 3'-0"x7'-0" Aluminum Door | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
39 | A2.5 |  | 3'-0"x6'-8" Wood Door | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
40 | A2.5 |  | 3'-0"x6'-8" Hollow Matel Door | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
WINDOW
41 | A2.5 |  | 7'-2"x9'-1" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
42 | A2.5 |  | 9'-8"x9'-1" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
43 | A2.5 |  | 6'-0"x9'-1" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
44 | A2.5 |  | 9'-7"x9'-1" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
45 | A2.5 |  | 10'-7"x9'-1" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
46 | A2.5 |  | 5'-11"x2'-2" Windows | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
47 | A2.5 |  | 4'-0"x3'-0" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
48 | A2.5 |  | 5'-7"x2'-2" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
49 | A2.5 |  | 5'-1"x2'-2" Window | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
|  | DIV-09 | FINISHES | [9 empty] | 0
Dry Walls
| A2.5 |  | 2x6 Exterior Drywall
50 | A2.5 |  | 6" wood stud @ 16" O.C | 1880 | 5% | 1974 | SF |  | 0 |  | 0 | 0
51 | A2.5 |  | 5/8" gypsum board on one side | 1880 | 5% | 1974 | SF |  | 0 |  | 0 | 0
52 | A2.5 |  | 1/2" Exterior Sheathing | 1880 | 5% | 1974 | SF |  | 0 |  | 0 | 0
53 | A2.5 |  | R-21 High Density Batt insulation | 1880 | 5% | 1974 | SF |  | 0 |  | 0 | 0
54 | A2.5 |  | Top & Bottom Plate | 564 | 5% | 593 | LF |  | 0 |  | 0 | 0
55 | A2.5 |  | Sealant | 376 | 5% | 395 | LF |  | 0 |  | 0 | 0
2x6 Interior Drywall
56 | A2.5 |  | 6" Metal stud @ 16" O.C | 840 | 5% | 882 | SF |  | 0 |  | 0 | 0
57 | A2.5 |  | 5/8" gypsum board on Both side | 1680 | 5% | 1764 | SF |  | 0 |  | 0 | 0
58 | A2.5 |  | R-21 High Density Batt insulation | 840 | 5% | 882 | SF |  | 0 |  | 0 | 0
59 | A2.5 |  | Top & Bottom Plate | 168 | 5% | 177 | LF |  | 0 |  | 0 | 0
60 | A2.5 |  | Sealant | 336 | 5% | 353 | LF |  | 0 |  | 0 | 0
2x4 Interior Drywall
61 | A2.5 |  | 3 5/8" Metal stud @ 16" O.C | 380 | 5% | 399 | SF |  | 0 |  | 0 | 0
62 | A2.5 |  | 5/8" gypsum board on Both side | 760 | 5% | 798 | SF |  | 0 |  | 0 | 0
63 | A2.5 |  | R-21 High Density Batt insulation | 380 | 5% | 399 | SF |  | 0 |  | 0 | 0
64 | A2.5 |  | Top & Bottom Plate | 76 | 5% | 80 | LF |  | 0 |  | 0 | 0
65 | A2.5 |  | Sealant | 152 | 5% | 160 | LF |  | 0 |  | 0 | 0
Flooring
66 | A2.5 |  | Concrete Flooring | 1960 | 5% | 2058 | SF |  | 0 |  | 0 | 0
Base
67 | A2.5 |  | Rubber Base | 475 | 5% | 499 | LF |  | 0 |  | 0 | 0
68 | A2.5 |  | Tiles on Wall 5' (W5) | 600 | 5% | 630 | SF |  | 0 |  | 0 | 0
Wall Covering
69 | A2.5 |  | W-1: Wall Covering Product: Premium Grade White #P-100 Smooth Surface Colour: White FRP | 1840 | 5% | 1932 | SF |  | 0 |  | 0 | 0
70 | A2.5 |  | W-2: Wall Covering Product: Red Laminate Nevamar #S1027T Colour: Red Laminate | 40 | 5% | 42 | SF |  | 0 |  | 0 | 0
71 | A2.5 |  | W-3: Wall Covering Colour: Newsprint Vinyl Wall covering | 100 | 5% | 105 | SF |  | 0 |  | 0 | 0
72 | A2.5 |  | W-4: Wall Covering Product : Chemetal 700 series Hpl Classics #702 Colour: Aluminum Laminate | 220 | 5% | 231 | SF |  | 0 |  | 0 | 0
Ceiling
73 | A2.3 |  | Scrubbable Ceiling Tile-2'x2' | 900 | 5% | 945 | SF |  | 0 |  | 0 | 0
74 | A2.3 |  | Acoustical Ceiling Tile-2'x2' | 74 | 5% | 78 | SF |  | 0 |  | 0 | 0
75 | A2.3 |  | Gypsum Board Ceiling | 210 | 5% | 221 | SF |  | 0 |  | 0 | 0
Paint
76 | A2.5 |  | Paint on wall | 1330 | 5% | 1397 | SF |  | 0 |  | 0 | 0
77 | A2.5 |  | Paint on ceiling | 800 | 5% | 840 | SF |  | 0 |  | 0 | 0
|  | DIV-10 | SPECIALITIES | [9 empty] | 0
Bath Accessories
78 | A2.5 |  | Soap dispenser | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
79 | A2.5 |  | Paper Towel dispenser | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
80 | A2.5 |  | Seat cover | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
81 | A2.5 |  | 18" x 30"Mirror | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
82 | A2.5 |  | 36" Grab bar | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
83 | A2.5 |  | 42" Grab bar | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
|  | DIV-12 | FURNISHINGS | [9 empty] | 0
CABINETS
84 | A2.5 |  | Upper Cabinets | 10 | 5% | 11 | LF |  | 0 |  | 0 | 0
85 | A2.5 |  | Base Cabinets | 7 | 5% | 8 | LF |  | 0 |  | 0 | 0
COUNTERTOP
86 | A2.5 |  | 2'-0" Countertop | 16 | 5% | 17 | SF |  | 0 |  | 0 | 0
BACKSPLASH
87 | A2.5 |  | Backsplash | 7 | 5% | 8 | LF |  | 0 |  | 0 | 0
Shelves
88 | A2.5 |  | Shelves | 7 | 5% | 8 | LF |  | 0 |  | 0 | 0
|  | DIV-22 | PLUMBING | [9 empty] | 0
Cold water pipe
89 | P2.01,P2.02 |  | 1'' Cold water pipe | 32 | 5% | 34 | LF |  | 0 |  | 0 | 0
90 | P2.01,P2.02 |  | 3/4'' Cold water pipe | 86 | 5% | 91 | LF |  | 0 |  | 0 | 0
Hot water pipe
91 | P2.01,P2.02 |  | 1'' Hot water pipe | 117 | 5% | 123 | LF |  | 0 |  | 0 | 0
Sanitary pipe
92 | P2.01,P2.02 |  | 4'' Sanitary pipe | 37 | 5% | 39 | LF |  | 0 |  | 0 | 0
Vent pipe
93 | P2.01,P2.02 |  | 2'' Vent pipe | 72 | 5% | 76 | LF |  | 0 |  | 0 | 0
94 | P2.01,P2.02 |  | 3'' Vent pipe | 8 | 5% | 9 | LF |  | 0 |  | 0 | 0
Grease pipe
95 | P2.01,P2.02 |  | 4'' grease water pipe | 105 | 5% | 111 | LF |  | 0 |  | 0 | 0
Overflow pipe
96 | P2.01,P2.02 |  | 1" overflow pipe | 61 | 5% | 65 | LF |  | 0 |  | 0 | 0
Condenstate pipe
| P2.01,P2.02 |  | 1" condenstate pipe | 56
Fixtures
97 | P2.01,P2.02 |  | Expansion tank | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
98 | P2.01,P2.02 |  | Floor cleanout | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
99 | P2.01,P2.02 |  | Floor drain | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
100 | P2.01,P2.02 |  | Floor sink | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
101 | P2.01,P2.02 |  | Lavatory | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
102 | P2.01,P2.02 |  | Mop basin | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
103 | P2.01,P2.02 |  | Hand sink | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
104 | P2.01,P2.02 |  | 3-Compartment sink | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
105 | P2.01,P2.02 |  | Water closet | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
106 | P2.01,P2.02 |  | Washing machine box | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
107 | P2.01,P2.02 |  | Grease trap | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
108 | P2.01,P2.02 |  | Hot water 30 gal. | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
109 | P2.01,P2.02 |  | Domestic pump | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
|  | DIV-23 | MECHANICAL | [9 empty] | 0
Duct
110 | M2.01 |  | 6" dia duct | 13 | 5% | 14 | LF |  | 0 |  | 0 | 0
111 | M2.01 |  | 10"x18" duct | 16 | 5% | 17 | LF |  | 0 |  | 0 | 0
112 | M2.01 |  | 14" dia | 33 | 5% | 35 | LF |  | 0 |  | 0 | 0
113 | M2.01 |  | 16" x 16" duct | 14 | 5% | 15 | LF |  | 0 |  | 0 | 0
114 | M2.01 |  | 18" dia | 53 | 5% | 56 | LF |  | 0 |  | 0 | 0
115 | M2.01 |  | 18"x16" duct | 11 | 5% | 12 | LF |  | 0 |  | 0 | 0
116 | M2.01 |  | 20"x18" duct | 5 | 5% | 6 | LF |  | 0 |  | 0 | 0
Supply grilles,return
117 | M2.01 |  | 24"x24" lay in supply grille 175 CFM | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
118 | M2.01 |  | 24"x24" lay in supply grille 200 CFM | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
119 | M2.01 |  | 24"x24" lay in supply grille 215 CFM | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
120 | M2.01 |  | 24"x24" lay in supply grille 300 CFM | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
121 | M2.01 |  | 24"x24" lay in supply grille 400 CFM | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
122 | M2.01 |  | 12"x12" lay in supply grille 15 CFM | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
123 | M2.01 |  | 12"x12" lay in supply grille 45 CFM | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
124 | M2.01 |  | 48" slot supply diffuser 175 CFM | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
125 | M2.01 |  | 24"X24" return diffuser | 6 | 0% | 6 | EA |  | 0 |  | 0 | 0
Exhaust fan
126 | M2.01 |  | Exhaust fan 75 CFM | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
127 | M2.01 |  | Exhaust fan 1254 CFM | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
Units
128 | M2.01 |  | Rooftop unit 4 Tons,1600 CFM | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
129 | M2.01 |  | Rooftop unit 5 Tons,2000 CFM | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
|  | DIV-26 | ELECTRICAL | [9 empty] | 0
Lighting items
130 | EL2.01 |  | 2'x2' led grid troffer | 19 | 0% | 19 | EA |  | 0 |  | 0 | 0
131 | EL2.01 |  | 6" led downlight | 15 | 0% | 15 | EA |  | 0 |  | 0 | 0
132 | EL2.01 |  | 6' track bar | 4 | 0% | 4 | EA |  | 0 |  | 0 | 0
133 | EL2.01 |  | Exit sign/light combo | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
134 | EL2.01 |  | Wall mount emergency light | 3 | 0% | 3 | EA |  | 0 |  | 0 | 0
135 | EL2.01 |  | Ptio light | 24 | 0% | 24 | EA |  | 0 |  | 0 | 0
136 | EL2.01 |  | Site light | 13 | 0% | 13 | EA |  | 0 |  | 0 | 0
137 | EL2.01 |  | Linear soffit light | 24 | 0% | 24 | EA |  | 0 |  | 0 | 0
Power items
138 | E2.01 |  | Data outlet | 15 | 0% | 15 | EA |  | 0 |  | 0 | 0
139 | E2.01 |  | Duplex outlet | 26 | 0% | 26 | EA |  | 0 |  | 0 | 0
140 | E2.01 |  | Duplex,GFCI | 23 | 0% | 23 | EA |  | 0 |  | 0 | 0
141 | E2.01 |  | Junction box | 5 | 0% | 5 | EA |  | 0 |  | 0 | 0
Misc.
142 | E2.01 |  | Electric panel 120/240 V | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
143 | E2.01 |  | Electric wiring | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
|  | DIV-30 | SITEWORK | [9 empty] | 0
144 | C1.00 |  | 5" concrete pavement | 7030 | 5% | 7382 | SF |  | 0 |  | 0 | 0
145 | C1.00 |  | 6" concrete pavement | 20620 | 5% | 21651 | SF |  | 0 |  | 0 | 0
146 | C1.00 |  | 6" concrete curb | 1134 | 5% | 1191 | LF |  | 0 |  | 0 | 0
147 | C1.00 |  | Dumpster | 117 | 5% | 123 | SF |  | 0 |  | 0 | 0
148 | C1.00 |  | Fence | 123 | 5% | 130 | LF |  | 0 |  | 0 | 0
149 | C1.00 |  | Ramp | 104 | 5% | 110 | SF |  | 0 |  | 0 | 0
150 | C1.00 |  | 4" concrete sidewalk | 1495 | 5% | 1570 | SF |  | 0 |  | 0 | 0
151 | C1.00 |  | Bollard | 2 | 0% | 2 | EA |  | 0 |  | 0 | 0
|  | DIV-31 | EARTHWORK | [9 empty] | 0
152 | S-101 | S-101 | Excavation | 33.75 | 5% | 36 | CY |  | 0 |  | 0 | 0
|  | DIV-33 | UTILITIES | [9 empty] | 0
UTILITY
153 | C1.03 - C1.04 |  | 2'' PVC Domestic water line | 186 | 5% | 196 | LF |  | 0 |  | 0 | 0
154 | C1.03 - C1.04 |  | 3/4'' Irrigation line | 8 | 5% | 9 | LF |  | 0 |  | 0 | 0
155 | C1.03 - C1.04 |  | 4'' Sanitary sewer line | 22 | 5% | 24 | LF |  | 0 |  | 0 | 0
156 | C1.03 - C1.04 |  | 6'' Perforated PVC underdrain | 40 | 5% | 42 | LF |  | 0 |  | 0 | 0
157 | C1.03 - C1.04 |  | 6'' PVC Sanitary sewer line | 86 | 5% | 91 | LF |  | 0 |  | 0 | 0
158 | C1.03 - C1.04 |  | 6'' PVC Storm line | 260 | 5% | 273 | LF |  | 0 |  | 0 | 0
159 | C1.03 - C1.04 |  | 8'' PVC Storm line | 21 | 5% | 23 | LF |  | 0 |  | 0 | 0
Fixtures
160 | C1.03 - C1.04 |  | 1-2''x3/4'' Reducing croos | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
161 | C1.03 - C1.04 |  | 2'' Backflow preventor w/ gorilla cage | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
162 | C1.03 - C1.04 |  | 2'' Domestic water meter | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
163 | C1.03 - C1.04 |  | 4''x6'' PVC Reducer | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
164 | C1.03 - C1.04 |  | 8''x6'' PVC Reducer | 1 | 0% | 1 | EA |  | 0 |  | 0 | 0
SUB TOTAL | [6 empty] | Total Lab. Cost = |  | 0 | Total Mat. Cost = | 0 | 0 | 0
INSURANCE | [7 empty] | 0% |  |  |  | 0 | 0
OVERHEAD AND PROFIT | [7 empty] | 25% |  |  |  | 0 | 0
TOTAL BASE BID | [11 empty] | 0 | 0